## Fire Marshal Monthly Checklist

| Location ________________ Signature________________Date_____ | Yes | No | # Comments / Action taken |
| --- | --- | --- | --- |
| ###### FIRE DOORS & ESCAPE ROUTES |  |  |  |
| Are all fire doors displaying ‘Fire Door Keep Shut’ signs shut and not wedged open? |  |  |  |
| Does the fire door close completely into its frame without getting jammed? |  |  |  |
| Are all fire escape routes and fire exit doors free from obstruction? |  |  |  |
| Do items of equipment; waste material or other items block fire exit doors? |  |  |  |
| Are floor surfaces on escape routes free from trip or slip hazards? |  |  |  |
| Does your emergency exit door open freely? |  |  |  |
| FIRE EXTINGUISHERS |  |  |  |
| Are fire extinguishers located in their correct positions and are unobstructed? |  |  |  |
| Are they on their hanging brackets or have the brackets been damaged? |  |  |  |
| Are the coloured tags on top of the extinguisher still in place and haven’t been tampered with or the extinguisher used? |  |  |  |

| ##### FIRE ALARM |  |  |  |
| --- | --- | --- | --- |
| Are the red fire alarm call points clear of obstruction? | Yes | No | Comments / Action taken |
| Are the smoke detectors on the ceiling in your area covered by rubber gloves (or similar)? |  |  |  |
| SIGNS & NOTICES |  |  |  |
| Are fire action notices and fire exit direction signs unobstructed and clearly visible? |  |  |  |
| MISCELLANEOUS |  |  |  |
| Are windows / doors locked when premises are empty to prevent arson? |  |  |  |
| Are all items of electrical equipment not in use turned off? |  |  |  |
| Have electrical power points / sockets been checked for overloading? |  |  |  |

### Fire Marshals in departments are asked to complete the above checklist on a Monthly basis. This will make your area a safer place to work, and will help you understand your area and the fire safety equipment it has.

### Maintenance Problems, such as fire doors jamming on the floor or extinguishers that require re-hanging on the wall etc. can be dealt with via the Facilities Helpdesk on Ext.4036

All other queries or concerns can be directed to the Health and Safety Team on Ext.4263 or email joseph.fortune@stmarys.ac.uk.